## Sheet1
model_name | product_name | item_name | qty
10 KVA PH3 MCP | CONTROL PANEL FOR DG | 550(W) X 255(H) X 200(D) (7.5-20 KVA PH3) MCP | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | MCB 16 AMP 3 POLE CSMBS3B19 | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | CT COIL 30/5 ROUND CL-1, 2.5VA | 3
10 KVA PH3 MCP | CONTROL PANEL FOR DG | Aotomotive Relay (1NO+1NC) 741-12-1C-2SC | 4
10 KVA PH3 MCP | CONTROL PANEL FOR DG | CONNECTWELL FUSE Terminal Station CF4U | 7
10 KVA PH3 MCP | CONTROL PANEL FOR DG | GLASS FUSE 2 AMP Relaince | 6
10 KVA PH3 MCP | CONTROL PANEL FOR DG | GLASS FUSE 5 amp relaince | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | TOGGEL SWITCH ON- OFF (15A 28VDC SINGLE POLE SW. SUB ASSLY) | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | PG GLAND 29 MM MIR29P29N | 2
10 KVA PH3 MCP | CONTROL PANEL FOR DG | MCB 32 AMP 1 POLE CSMBS1C32 | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | HOOTER 12V (10 -200 KVA) | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | SMPS 12 VOLT 2 AMP | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | TERMINAL 63 AMP 4 POLE makePOWERMATE(TB4106) | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | WAGO TERMINAL 4 MM262-301 | 9
10 KVA PH3 MCP | CONTROL PANEL FOR DG | END PLATE 4 MM 262-361 | 3
10 KVA PH3 MCP | CONTROL PANEL FOR DG | WIRE 0.75 MM COLOUR -GREEN WITH BLACK LINE | 1.2
10 KVA PH3 MCP | CONTROL PANEL FOR DG | WIRE 0.75 MM COLOUR-WHITE | 1.2
10 KVA PH3 MCP | CONTROL PANEL FOR DG | WIRE 1 MM COLOUR-orange | 1.2
10 KVA PH3 MCP | CONTROL PANEL FOR DG | wire 1.5 red | 0.8
10 KVA PH3 MCP | CONTROL PANEL FOR DG | UNIYVIN WIRE U 18 | 6.45
10 KVA PH3 MCP | CONTROL PANEL FOR DG | DOOR STOPPER | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | PANEL HING 006021002H91 (40*40) | 2
10 KVA PH3 MCP | CONTROL PANEL FOR DG | HOLO PIN LUG 1 MM DOWEELS | 52
10 KVA PH3 MCP | CONTROL PANEL FOR DG | HOLO PIN LUG 2.5MM | 7
10 KVA PH3 MCP | CONTROL PANEL FOR DG | HOLO PIN LUG 6 MM DOWELLS/3D | 3
10 KVA PH3 MCP | CONTROL PANEL FOR DG | FORK LUG 2.5/3.5 dia . | 4
10 KVA PH3 MCP | CONTROL PANEL FOR DG | FORK LUG 2.5-(5 MM DIA) | 3
10 KVA PH3 MCP | CONTROL PANEL FOR DG | RING LUG 10/8 (HEX - HR 7121)+ BRACO RI-121 ( NON INSUL.) | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | RING LUG 2.5/8 ( HEX) 8 mm dia. | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | WIRE SLEEVE 6 MM GREEN | 0.25
10 KVA PH3 MCP | CONTROL PANEL FOR DG | WIRE SLEEVE 6 MM RED | 0.1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | WIRE SLEEVE 6 MM YELLOW | 0.1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | WIRE SLEEVE 6 MM BLUE | 0.1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | WIRE SLEEVE 6 MM BLACK | 0.1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | MCB CHANEL | 0.3
10 KVA PH3 MCP | CONTROL PANEL FOR DG | PVC CHANEL 25X25 | 0.5
10 KVA PH3 MCP | CONTROL PANEL FOR DG | PVC CHANEL 25X45 | 0.9
10 KVA PH3 MCP | CONTROL PANEL FOR DG | SLEEVE 6 MM @ 40 mtr | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | SLEEVE 9 MM @20 mtr | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | SELF SCREW (FOR 160 TO 320KVA) 4.2 X13 MM | 30
10 KVA PH3 MCP | CONTROL PANEL FOR DG | screw 3/16 1/2'' | 3
10 KVA PH3 MCP | CONTROL PANEL FOR DG | SCREW 1/8 ( POINT MAKE) | 8
10 KVA PH3 MCP | CONTROL PANEL FOR DG | NON INSULATED RING LUG 4-6 MM | 11
10 KVA PH3 MCP | CONTROL PANEL FOR DG | NON INSULATED RING LUG 4-6/8 DIA MM | 3
10 KVA PH3 MCP | CONTROL PANEL FOR DG | NON INSULATED PIN LUG 4 MM | 6
10 KVA PH3 MCP | CONTROL PANEL FOR DG | TIE CLOSER 100MM (1PKT=1000 PCS) | 14
10 KVA PH3 MCP | CONTROL PANEL FOR DG | WASHER 3/16 | 12
10 KVA PH3 MCP | CONTROL PANEL FOR DG | RING LUG 2.5MM 5 dia | 4
10 KVA PH3 MCP | CONTROL PANEL FOR DG | screw 3/16 1" | 2
10 KVA PH3 MCP | CONTROL PANEL FOR DG | MCB STOPPER SCKN ELMEX TERMINAL ACCESS | 6
10 KVA PH3 MCP | CONTROL PANEL FOR DG | GLAND 36 MM(40 MM LOCAL) | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | NUT 6MM | 12
10 KVA PH3 MCP | CONTROL PANEL FOR DG | PVC TAPE BLACK | 0.5
10 KVA PH3 MCP | CONTROL PANEL FOR DG | TIE CLOSER 200MM (1PKT =100 PCS) | 6
10 KVA PH3 MCP | CONTROL PANEL FOR DG | EMERGENCY STOP (P2AM4) | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | NO CONTACT (s1) | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | WIRE 35 MM RED POLYCAB | 1.4
10 KVA PH3 MCP | CONTROL PANEL FOR DG | WIRE 35 MM BLACK POLYCAB | 0.75
10 KVA PH3 MCP | CONTROL PANEL FOR DG | BATTERY LUG (1pkt= 12 nos) | 2
10 KVA PH3 MCP | CONTROL PANEL FOR DG | BATTERY TERMINAL (1pkt= 12 nos) | 2
10 KVA PH3 MCP | CONTROL PANEL FOR DG | Battery terminal cap BIG RED | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | Battery terminal cap BIG BLACK | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | Battery LUG cap SMALL RED | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | Battery LUG cap SMALL BLACK | 1
10 KVA PH3 MCP | CONTROL PANEL FOR DG | HEX BOLT 8*20 SS 304 | 8
10 KVA PH3 MCP | CONTROL PANEL FOR DG | WIRE SLEEVE 14 MM RED | 0.15
10 KVA PH3 MCP | CONTROL PANEL FOR DG | WIRE SLEEVE 14 MM BLACK | 0.15
10 KVA PH3 MCP | CONTROL PANEL FOR DG | BRASS BOLT 8X25 | 1